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South Warwickshire Local Plan 2025-2050
Representation Form
Regulation 19 Stage

	Ref:
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Please return this form by 23:59pm on Tuesday 8th September 2026 to South Warwickshire Local PlanTeam, Stratford-upon-Avon District, Elizabeth House, Church Street, Stratford-upon-Avon, Warwickshire, CV37 6HX
You can send the form via email to: swlp@warwickdc.gov.uk

	
Privacy Statement – PLEASE READ
All comments are published together with names and (where applicable) organisations; therefore, all comments are publicly available and attributable. We will only share personal data in accordance with the Data Protection Act 1998 and the UK General Data Protection Regulations. For further information please see the Council’s Privacy Policy and Strategic Planning Privacy Notice:

	
This form has two parts –
Part A – Representor’s details:  Need only be completed once. Ensure all emails or postal submissions include one Part A form or include this information in the email/letter.
Part B – Your representation(s).  Please fill in a separate sheet for each representation you wish to make, by using the Copy and Paste functions.


	[bookmark: _Toc364432883]Part A


	These are the details that will be used for all future correspondence, unless otherwise advised in writing.


	1. Personal Details*
	
	
	
	
	
	2. Agent’s Details (if applicable)
	

	*If an agent is appointed, please complete only the Title, Name and Organisation (if applicable)
boxes below but complete the full contact details of the agent in 2.

	

	Title
	
	
	
	

	
	
	

	First Name
	
	
	
	

	
	
	

	Last Name
	
	
	
	

	
	
	

	Job Title
	
	
	
	

	(where relevant)
	
	

	Organisation
	
	
	
	

	(where relevant)
	
	

	Address Line 1
	
	
	
	

	
	
	

	Line 2
	
	
	
	

	
	
	

	Line 3
	
	
	
	

	
	
	

	Line 4
	
	
	
	

	
	
	

	Post Code
	
	
	
	

	
	
	

	Telephone Number
	
	
	
	

	
	
	

	E-mail Address
	
	
	
	

	(where relevant)
	
	



Further contact

Please note that by completing and submitting this questionnaire, you are consenting to being kept informed of further formal stages of the South Warwickshire Local Plan, including all matters relating to the Local Plan Examination following submission. Please ensure you have read and understood the Privacy Statement on our website.

	If you do not consent to being kept informed of further formal stages, please mark the box:
	X




Use of Artificial Intelligence-(AI)


If you have used AI to assist you in writing the representation or if you have used AI to summarise your response, please tick the relevant box.

	I have used AI to write the full representation
	




	I have used AI to summarise the full representation
	




	I have used AI to write and summarise the full representation
	Partially




	I have not used AI to in preparing my representation
	




			
	Part B – Please use a separate sheet for each representation


	
Name and (where relevant) organisation (to match Part A):


	


	
1. To which part of the Local Plan or submission documents does this representation relate?

	
Please mark the appropriate box

	

	Paragraph
e.g. ‘4.35’
	8.2 LMA
	Policy
e.g.
‘Policy ID.1’
	ID.1 to 11
NZ.1 to 8
	Policies Map
	
	

	
	
	
	
	
	
	

	Sustainability
Appraisal
	
	Habitats
Regulations
Assessment
	
	
	
	

	
	
	
	
	
	
	

	
2. Do you consider the Local Plan is:

	2.1 Legally compliant

	Yes
	
	    No
	

	
	
	
	
	

	2.2 Sound

	Yes
	
	    No
	X


	
	
	
	
	

	
	
	
	
	






	
3. Please give details of why you consider the Local Plan is not legally compliant or is not sound. Please provide the response in 500 words.

If you wish to support the legal compliance or soundness of the Local Plan, please also use this box to set out your comments.


	Regulation 19 Representation – Combined Utilities Objection (Electricity, Water, Wastewater, Digital)
Tests of Soundness: Not Justified • Not Effective • Not Consistent with National Policy (NPPF §31, §35, §§152–159) Ref: SWLP Reg 19 Publication Version
1. Summary of Representation
I object to Proposal LMA – Long Marston Airfield New Community on the grounds that the SWLP Reg 19 Publication Version provides no proportionate evidence that the development can be supported by essential utilities infrastructure:
· Electricity (grid capacity & connection)
· Water supply
· Wastewater treatment & network capacity
· Digital connectivity (full fibre & 5G)
The plan does not demonstrate that these utilities can be delivered at the required scale, within the plan period, or in alignment with infrastructure-first policies (ID.1–ID.11).
This renders the allocation unsound.
2. ELECTRICITY – Grid Capacity & Connection
Soundness: Not Justified • Not Effective • Not Consistent with NPPF §§152–158
2.1 No evidence of grid capacity
A town‑scale settlement of 4,000+ homes requires:
· A new primary substation
· A high‑voltage (HV) connection to a National Grid node
· 20–40 MVA of new electrical capacity
· Regional grid reinforcement
The Reg 19 document contains no grid capacity study, no connection feasibility, and no identified substation site.
2.2 No delivery plan
There is no:
· HV cable corridor
· Funding mechanism
· Delivery partner (National Grid / DNO)
· Phasing trigger
· Risk assessment
2.3 Net Zero policies increase demand
NZ.1–NZ.8 require:
· Heat pumps
· EV charging
· High energy performance
· Decentralised energy systems
These significantly increase peak load, yet the plan provides no evidence the grid can support this.
Conclusion: Electricity infrastructure is not evidenced, not planned, and not deliverable.
3. WATER SUPPLY – Capacity & Network Constraints
Soundness: Not Justified • Not Effective • Not Consistent with NPPF §159
3.1 No water supply capacity assessment
The Reg 19 document does not include:
· A water supply capacity study
· Confirmation from Severn Trent Water
· Network reinforcement requirements
· Reservoir or trunk main upgrades
· Peak demand modelling
3.2 LMA is remote from major supply infrastructure
Long Marston is distant from:
· Strategic trunk mains
· Major supply nodes
· Existing high‑capacity infrastructure
The plan does not demonstrate that water supply can be delivered without major reinforcement.
3.3 No phasing triggers
ID.11 requires evidence of water infrastructure capacity. Proposal LMA provides none.
Conclusion: Water supply is not evidenced, not planned, and not deliverable.
4. WASTEWATER – Treatment & Network Capacity
Soundness: Not Justified • Not Effective • Not Consistent with NPPF §§152–159
4.1 Known wastewater constraints ignored
The Long Marston area has:
· Limited wastewater treatment capacity
· Network constraints
· Flooding and infiltration issues
· Distance from major treatment works
Reg 19 does not provide:
· A wastewater capacity study
· A treatment upgrade plan
· A network reinforcement plan
· Confirmation from Severn Trent Water
· A delivery timeline
4.2 No evidence of treatment works expansion
A town‑scale settlement requires:
· Major treatment works upgrades
· New rising mains
· New pumping stations
· Network reinforcement across multiple villages
None of this is evidenced.
4.3 No infrastructure-first phasing
ID.11 requires wastewater capacity to be demonstrated before allocation. Proposal LMA does not meet this requirement.
Conclusion: Wastewater infrastructure is not evidenced, not planned, and not deliverable.
5. DIGITAL CONNECTIVITY – Fibre & 5G
Soundness: Not Justified • Not Effective
5.1 No digital infrastructure plan
ID.6 requires:
· Full fibre broadband
· 5G-ready infrastructure
· Digital inclusion
· Early delivery
Reg 19 provides no digital connectivity assessment, no fibre backbone plan, and no 5G infrastructure strategy.
5.2 LMA is remote from existing fibre nodes
Long Marston is distant from:
· Fibre backbone routes
· Major telecoms nodes
· Dense urban infrastructure
The plan does not demonstrate that full fibre can be delivered at scale.
5.3 No delivery partners
There is no evidence of engagement with:
· Openreach
· CityFibre
· Virgin Media
· Mobile network operators
Conclusion: Digital infrastructure is not evidenced, not planned, and not deliverable.
6. Combined Utilities Failure – Strategic Implications
6.1 Infrastructure-first policies (ID.1–ID.11) are not met
The plan does not demonstrate:
· Capacity
· Deliverability
· Funding
· Phasing
· Risk management
· Provider confirmation
6.2 LMA cannot be occupied safely without utilities
Electricity, water, wastewater, and digital connectivity are critical path infrastructure. Without them, LMA is:
· Undeliverable
· Unviable
· Non-compliant with NPPF
· Not effective
· Not justified
6.3 The evidence base is incomplete
NPPF §31 requires a proportionate evidence base. None exists for utilities.














(Continue on a separate sheet /expand box if necessary.  Please provide a summary of any attachments, such as supplementary evidence, submitted alongside your representation.)

	

4.  Please set out the modification(s) you consider necessary to make the Local Plan legally compliant and sound, in respect of any legal compliance or soundness matters you have identified at 3 above.  You will need to say why each modification will make the Local Plan legally compliant or sound.

It will be helpful if you are able to put forward your suggested revised wording of any policy or text.


	7. Requested Modifications
Modification 1 — Publish full utilities capacity studies
Including:
· Electricity grid capacity
· Water supply capacity
· Wastewater treatment capacity
· Digital connectivity feasibility
Modification 2 — Identify required infrastructure
Including:
· New primary substation
· HV cable corridor
· Water network reinforcement
· Wastewater treatment upgrades
· Fibre backbone routes
· 5G infrastructure
Modification 3 — Provide binding phasing triggers
Occupation must be prohibited until:
· Electricity infrastructure is energised
· Water supply is secured
· Wastewater upgrades are complete
· Digital connectivity is operational
Modification 4 — Reassess the scale of LMA
If utilities cannot be delivered within the plan period, the allocation must be:
· Reduced
· Rephased
· Or replaced with less constrained alternatives
8. Conclusion
Proposal LMA is unsound because the SWLP Reg 19 Publication Version provides no evidence that essential utilities infrastructure can be delivered.
The allocation is:
· Not Justified
· Not Effective
· Not Consistent with National Policy
The requested modifications are essential to make the plan sound.













(Continue on a separate sheet /expand box if necessary.  Please provide a summary of any attachments, such as supplementary evidence, submitted alongside your representation)

	
Please note:  In your representation you should provide succinctly all the evidence and supporting information necessary to support your representation and your suggested modification(s).  You should not assume that you will have a further opportunity to make submissions.

After this stage, further submissions may only be made if invited by the Inspector, based on the matters and issues they identify for examination.


	5. If your representation is seeking a modification to the plan, do you consider it necessary to participate in examination hearing session(s)?

	

	
	
	No, I do not wish to
participate in
hearing session(s)
	
	Yes, I wish to participate in
hearing session(s)

	
Please note: While this will provide an initial indication of your wish to participate in hearing sessions(s), you may be asked at a later point to confirm your request to participate.


	6.  If you wish to participate in the hearing session(s), please outline why you consider this to be necessary:


	












	
Please note the Inspector will determine the most appropriate procedure to adopt to hear those who have indicated that they wish to participate in
hearing session(s).  You may be asked to confirm your wish to participate when the Inspector has identified the matters and issues for examination.



